Division 1 – General

1.01 Section Includes:

- Wooden Lockers

1.02 References

- Americans with Disabilities Act - Accessibility Guidelines

Division 2 - Products

2.01 Standard Lockers:

- White melamine bodies consisting of 5/8” laminated particle broad core for top, bottom, shelves and side, and 5/8” backs.

- Bodies are assembled using screws and glue.

- This assembly method provides both strength and durability.

- Single and double tier lockers include two clothing hooks per locker.

- Choice of padlock hasp or built-in key lock.

  - Door Handles & Latching:

- Doors consist of 5¼8” industrial grade core with .030” plastic laminate finish in 4 standard colors. Door edges are radius edged and banded with black PVC edge banding.

- Three way adjustable concealed European hinges are standard on single tier lockers over 36” tall.

- Double tier, triple tier, and box lockers have two hinges per door.

2.03 ADA-Compliant Lockers:

- Single Tier Lockers:

- Hat shelf 48” maximum off the floor.

- Locker Bottom:

- Minimum of 9” off the floor, or an extra shelf placed 9” off the floor.

- Handicapped symbol attached to door.

2.04 Accessories Options:

- Number Plates:

- Include for each door

- Base:

- 4” black particle board core

- Locks:

- Additional lock options include:

- Built-in combination lock, electronic locks, and coin locks

- Continuous Sloped Hoods:

- Four standard melamine colors with ¾” particle board core.

- Finished End Panels:

- Four standard melamine colors with ¾” particle board core.

- Fillers:

- Four standard melamine colors with ¾” particle board core.

- Perforations:

- Holes drilled in door, sides, or backs for additional ventilation

- Make door knobs and coat rods available.